## Sheet1
電 力 設 備					Electric Power Facilities					電 力 設 備 (續)					Electric Power Facilities (Cont.)

		電 車 線 設 備					Overhead Contact System Equipment					電 車 線 設 備 Overhead Contact System Equipment					變 電 設 備 Substation Equipment

年 底 別					年 底 別
		電 桿 Pole		門 型 架			Portal Bridgedge				懸 臂	導 線 Conductor				導 線 Conductor			開 關 Isolator		控制盤	變 電 站		Substation		遙 控 設 備
				Remote Control Equipment
		水泥桿	鐵 桿	跨二軌	跨三軌	跨 三 至	跨六軌	跨八軌	跨五軌中	跨八軌中		主吊線	接觸線			導電軌	架空地線	控制電纜	手 動	電 動		雙變壓器站	三變壓器站	移動變電站	69KV線路	主站	外站
				臂 型	臂 型	五軌門型	門 型	門 型	點錨門型	點錨門型
				Two Track	Three Track					Double -	Triple -	Movable	69 KV	Main	Outside
		P.S.C.	Steel	Cantilever	Cantilever	Three to	Six	Eight	Five Track	Eight Track	Cantilever	Messenger	Contact			Conductor	Return	Control	Manual	Motorized	Control	Tr	Tr		Transmission
End of Year		Pole	Mast	Bridge	Bridge	Five Track	Track	Track	M. P. A.	M. P. A.		Wire	Wire	End of Year		Rail	Feeder	Cable	Isolator	Isolator	Panel	Substation	Substation	Substation	Line	Station	Station
		根 Piece	根 Piece	座 Set	座 Set	座 Set	座 Set	座 Set	座 Set	座 Set	組 Set	公里 Km	公里 Km			公里 Km	公里 Km	公里 Km	個 Piece	個 Piece	個 Piece	處 Place	處 Place	處 Place	公里 Km	處 Place	處 Place

民 國 70 年 底	End of 1981	21,810	2,317	339	10	1,796	218	104	-	-	33,011	1,432	1,383	民 國 70 年 底	End of 1981	-	1,517	220	206	554	-	10	1	-	122	2	17
民 國 75 年 底	End of 1986	21,806	2,321	318	10	1,832	219	89	101	30	36,298	1,438	1,383	民 國 75 年 底	End of 1986	-	1,527	204	205	557	102	10	1	2	120	2	29
民 國 80 年 底	End of 1991	22,044	2,560	360	13	1,858	252	103	93	28	34,260	1,475	1,422	民 國 80 年 底	End of 1991	-	1,535	199	180	656	109	11	1	2	119	2	36

民 國 85 年 底	End of 1996	21,995	2,636	400	14	1,823	250	105	92	27	34,397	1,474	1,418	民 國 85 年 底	End of 1996	-	1,587	202	166	570	112	11	2	2	119	2	37
民 國 90 年 底	End of 2001	25,427	4,202	744	40	2,057	381	158	107	36	43,612	1,784	1,719	民 國 90 年 底	End of 2001	-	2,124	270	231	809	143	11	6	2	158	1	43
民 國 94 年 底	End of 2005	26,769	6,301	1,469	38	2,200	472	332	114	65	52,266	2,167	2,199	民 國 94 年 底	End of 2005	35	2,624	382	243	861	159	13	6	2	152	1	37
民 國 95 年 底	End of 2006	26,510	6,486	1,457	52	2,165	477	335	118	56	52,136	2,164	2,193	民 國 95 年 底	End of 2006	35	2,485	382	243	861	159	13	6	2	95	1	37

民 國 96 年 底	End of 2007	26,507	6,485	1,460	52	2,162	477	336	118	56	52,129	2,162	2,191	民 國 96 年 底	End of 2007	35	2,485	382	229	871	159	13	6	2	99	1	37
民 國 97 年 底	End of 2008	26,467	6,665	1,423	40	2,170	478	328	115	56	52,258	2,163	2,191	民 國 97 年 底	End of 2008	35	2,486	382	232	871	154	13	6	2	84	1	37
民 國 98 年 底	End of 2009	26,427	6,692	1,405	44	2,146	474	334	114	56	52,122	2,157	2,186	民 國 98 年 底	End of 2009	35	2,484	382	241	863	153	13	6	1	85	8	37
民 國 99 年 底	End of 2010	26,533	6,170	1,402	44	2,146	482	330	117	59	52,428	2,166	2,194	民 國 99 年 底	End of 2010	35	2,489	385	252	829	152	14	5	2	75	1	37

民 國 100 年 底	End of 2011	26,411	7,453	1,424	45	2,036	490	330	116	59	53,155	2,207	2,233	民 國 100 年 底	End of 2011	35	2,554	387	253	841	154	14	5	2	69	1	37
民 國 101 年 底	End of 2012	26,550	7,216	1,433	45	2,163	497	328	116	59	53,346	2,207	2,233	民 國 101 年 底	End of 2012	35	2,570	397	245	847	157	14	5	2	69	1	37
民 國 102 年 底	End of 2013	26,669	7,595	1,493	48	2,179	510	331	116	59	53,775	2,222	2,247	民 國 102 年 底	End of 2013	37	2,552	397	256	853	158	14	5	2	23	1	37
民 國 103 年 底	End of 2014	26,704	11,589	1,709	89	2,345	520	325	137	63	58,517	2,472	2,475	民 國 103 年 底	End of 2014	37	2,846	377	268	914	171	18	5	1	13	1	52

民 國 104 年 底	End of 2015	26,694	11,479	1,678	68	2,391	515	320	126	63	58,487	2,471	2,474	民 國 104 年 底	End of 2015	37	2,846	377	272	949	179	19	5	1	13	1	53
民 國 105 年 底	End of 2016	26,690	11,710	1,682	68	2,390	516	321	126	64	59,022	2,474	2,476	民 國 105 年 底	End of 2016	38	2,846	447	258	949	179	19	5	1	13	1	53
民 國 106 年 底	End of 2017	26,688	11,733	1,697	68	2,390	516	322	126	64	59,040	2,475	2,477	民 國 106 年 底	End of 2017	40	2,885	447	255	950	181	19	5	1	13	1	45
民 國 107 年 底	End of 2018	26,555	12,541	1,698	65	2,454	512	325	130	64	59,875	2,512	2,517	民 國 107 年 底	End of 2018	40	2,928	463	268	975	184	19	5	-	13	1	47

民 國 108 年 底	End of 2019	26,611	12,872	1,619	66	2,463	512	331	129	65	60,242	2,514	2,539	民 國 108 年 底	End of 2019	37	2,963	465	269	975	190	19	5	-	13	1	47